## Sheet1
BESTEST OUTPUT FORM FOR FUEL-FIRED FURNACE TEST CASES HE100-HE170 and HE210-HE230
INSTRUCTIONS:
1) PLEASE USE SPECIFIED UNITS
2) DATA ENTRY IS RESTRICTED TO THE SPECIFIED CELLS.
NOTE THAT WE HAVE USED THE PROTECTION OPTION IN THIS WORKSHEET TO
HELP ASSURE THAT DATA IS INPUT IN THE CORRECT CELLS.
THIS WAS DONE TO HELP EASE DATA HANDLING ON OUR END. IF YOU THINK WE
HAVE ACCIDENTALLY LEFT AN AREA PROTECTED THAT SHOULD HAVE BEEN
UNPROTECTED THEN DISABLE THE WORKSHEET PROTECTION TO INPUT YOUR DATA.
TOTAL FURNACE LOAD
CODENAME: | Analytical/Quasi-Analytical
COUNTRY:
GJ
CASE HE100 | 77.74
CASE HE110 | 77.74
CASE HE120 | 31.1
CASE HE130 | 0
CASE HE140 | 31.1
CASE HE150 | 29.65
CASE HE160 | 31.1
CASE HE170 | 29.65
CASE HE210
CASE HE220
CASE HE230
TOTAL FURNACE INPUT
CODENAME:
COUNTRY:
GJ
CASE HE100 | 77.7133
CASE HE110 | 97.2156
CASE HE120 | 38.2657
CASE HE130 | 0
CASE HE140 | 39.0044
CASE HE150 | 37.0246
CASE HE160 | 38.0884
CASE HE170 | 37.0246
CASE HE210
CASE HE220
CASE HE230
FUEL CONSUMPTION
CODENAME: | Analytical/Quasi-Analytical
COUNTRY:
m3/s
CASE HE100 | 0.000263
CASE HE110 | 0.000329
CASE HE120 | 0.0001295
CASE HE130 | 0
CASE HE140 | 0.000132
CASE HE150 | 0.0001253
CASE HE160 | 0.0001289
CASE HE170 | 0.0001253
CASE HE210
CASE HE220
CASE HE230
FAN ENERGY (BOTH FANS)
CODENAME:
COUNTRY:
kWh
CASE HE150 | 432
CASE HE160 | 172.76
CASE HE170 | 473.18
CASE HE210
CASE HE220
CASE HE230
MEAN ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210
CASE HE220
CASE HE230
MAXIMUM ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210
CASE HE220
CASE HE230
MINIMUM ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210
CASE HE220
CASE HE230