## Sheet1
BESTEST OUTPUT FORM FOR FUEL-FIRED FURNACE TEST CASES HE100-HE170 and HE210-HE230
INSTRUCTIONS:
1) PLEASE USE SPECIFIED UNITS
2) DATA ENTRY IS RESTRICTED TO THE SPECIFIED CELLS.
NOTE THAT WE HAVE USED THE PROTECTION OPTION IN THIS WORKSHEET TO
HELP ASSURE THAT DATA IS INPUT IN THE CORRECT CELLS.
THIS WAS DONE TO HELP EASE DATA HANDLING ON OUR END. IF YOU THINK WE
HAVE ACCIDENTALLY LEFT AN AREA PROTECTED THAT SHOULD HAVE BEEN
UNPROTECTED THEN DISABLE THE WORKSHEET PROTECTION TO INPUT YOUR DATA.
TOTAL FURNACE LOAD
CODENAME: | TRNSYS18.06.0002
COUNTRY: | TESS
GJ
CASE HE100 | 77.76
CASE HE110 | 77.76
CASE HE120 | 31.1063
CASE HE130 | 0
CASE HE140 | 31.1081
CASE HE150 | 29.6573
CASE HE160 | 30.5026
CASE HE170 | 29.6573
CASE HE210 | 42.0594
CASE HE220 | 39.8366
CASE HE230 | 34.6738
TOTAL FURNACE INPUT
CODENAME:
COUNTRY:
GJ
CASE HE100 | 77.7561
CASE HE110 | 97.1951
CASE HE120 | 38.2827
CASE HE130 | 0
CASE HE140 | 38.9064
CASE HE150 | 37.0446
CASE HE160 | 38.134
CASE HE170 | 37.0446
CASE HE210 | 52.4299
CASE HE220 | 49.5759
CASE HE230 | 43.4214
FUEL CONSUMPTION
CODENAME:
COUNTRY:
m3/s
CASE HE100 | 0.00026314
CASE HE110 | 0.00032893
CASE HE120 | 0.00012956
CASE HE130 | 0
CASE HE140 | 0.00013167
CASE HE150 | 0.00012537
CASE HE160 | 0.00012905
CASE HE170 | 0.00012537
CASE HE210 | 0.00017743
CASE HE220 | 0.00016778
CASE HE230 | 0.00014695
FAN ENERGY (BOTH FANS)
CODENAME:
COUNTRY:
kWh
CASE HE150 | 432
CASE HE160 | 169.4587
CASE HE170 | 473.1907
CASE HE210 | 292.0841
CASE HE220 | 276.6406
CASE HE230 | 481.5883
MEAN ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210 | 20
CASE HE220 | 18.5428
CASE HE230 | 15.6044
MAXIMUM ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210 | 20
CASE HE220 | 20
CASE HE230 | 20
MINIMUM ZONE TEMPERATURE
CODENAME:
COUNTRY:
°C
CASE HE210 | 20
CASE HE220 | 15
CASE HE230 | 1.5253